## Sheet1
Kern County Environmental Health
Hot Water Demand for Tankless/Instantaneous Water Heaters
FACILITY NAME:
ADDRESS: |  |  | DATE:
Fixtures Served | No. Units | X | GPM | = | Total GPM
Mop Sinks |  | X | 2 | = | 0
Utensil/ 3-Compartment Sinks (18x18) |  | X | 2 | = | 0
Handwash Sinks/ Restroom Sinks |  | X | 0.5 | = | 0
Food Preparation Sinks |  | X | 0.5 | = | 0
Handspray/ Pre-rinse Units |  | X | 2 | = | 0
Employee Showers |  | X | 2 | = | 0
Clothes Washer (9-12 lbs) |  | X | 2 | = | 0
Clothes Washer (16 lbs) |  | X | 4 | = | 0
Outdoor Trash Area |  | X | 2 | = | 0
Utensil/ 3-Compartment Sinks (24x24) |  | X | 4 | = | 0
Automatic Utensil Washing Machine |  | X | 4 | = | 0
Bar Sinks (3-Compartment) |  | X | 2 | = | 0
Other: _________________________ |  | X |  | = | 0
| Total GPH(Gallons per minute) |  |  | = | 0